## Slide 1: Case study – Avesta distric heating with hot water storage in rock caverns
Eric Båve

## Slide 3: Avesta, Källhagsverket
Produced 185000MWh of district heating by waste incineration from a waste-fired grate boiler. A hot water storage was constructed 1982
Owner2020 is Capstone Infrastructor Corporation 50% and Macquarie Infrastructor and Real Asset 50%

## Slide 4: 1 Rock cavern 15000 m3 2 Machine hall 3 Research tunnel 5 Lift and hoist shaft 6 Entrance building

## Slide 5: Clay Hässleholm SE, 15 000 m3 vatten

## Slide 6: Temperaturskillnader före och efter inspektion

## Slide 7: Cavern roof Joints & rockfalls Inspection 1984

## Slide 8: Two rock caverns in municipal of Hudiksvall Constructed 1977 for oil storage and 2018 used för hot water

## Slide 9: smoother production for district heating
Without storage
With hot water storage

## Slide 10: Energy losses

## Slide 11: Seasonal heat storage 1 000 000 m3 Vantaa, FI 2026

## Slide 12: Conclusions
1 heat exchanger must bee cleanded every month and full reset every 10 year
2 Rising temperatur increase the risk of ”water chemistry problems” after 30 years max temperature is upp to 121 C
3 Numeric models for forecasting have been developed to high precision!
4 Energy storage in a distric heating system increase the energy efficincy and reduse the risk of transporting fuels and other energy equalensis.

## Slide 13: Investment cost and Water volume in storage
Chart: Water volume in heat storage, m3
| 11340 | 42000 | 3000 | 3000 | 8000 | 33000 | 15700 | 2500 | 44000 | 4300
TTES-P: Pressurized tank storages | 1764 | 449 | 1149 | 1698 | 607 | 379 | 363 | 1200 | 198 | 813.9535
Trend for TTES-P | 1437.7264 | 218.0195
TTES-A: Atmospheric tank storages | 187 | 517 | 100 | 357 | 429 | 599 | 146 | 165 | 158 | 250 | 290 | 325 | 648 | 213 | 628 | 209 | 258 | 607 | 215 | 116 | 125 | 125 | 103 | 175 | 1680 | 12600 | 162.1622 | 100 | 109.0909 | 119.0476 | 128.7129
Trend for TTES-A | 7017.8855 | 114.104
PTES: Pit storages | 190 | 192 | 662 | 505 | 37.922 | 34.438 | 67 | 35.644 | 150.08 | 48.106 | 23.718
Trend for PTES | 482.3282 | 20.9992

## Slide 14: Thank you for listening
Eric Båve
Mail bave@kth.se
Mobile +46 708520725